## COVER PAGE
PROPOSED OFFICE FIT OUT AT THE EXECUTIVE FOR GIZ-AYA INTEGRATED HEALTHCARE INITIATIVE, GREATER ACCRA REGION
BILL OF QUANTITIES
Prepared by: | Client:
Surv. Frederick Osei Baffour | GIZ - AYA INTEGRATED
+233 243 683718 | HEALTHCARE INITIATIVEGHANA
Date: 5th December, 2024

## GROUND FLOOR
Item | Description | Qty | Unit | Rate | Amount GHS
GROUND FLOOR - LEFT WING
EXISTING SITE/BUILDINGS/SERVICES
DEMOLITION/ALTERATION/RENOVATION
C10: DEMOLISHING STRUCTURES
Various locations on site and disposal off site
A | Carefully remove existing timber doors, store for reuse and make good defects (3Nr) |  | Item
| Demolition And Alteration Works To Summary |  |  | GH₵ | 0
CLADDING/COVERING
Structural glass assemblies
A | Vertical surfaces, 10mm glazed clear tempered wall with frames and all complete accessories | 34 | m² |  | 0
Items extra over
B | Door 900mm x 2100mm, 10mm glazed clear tempered | 8 | nr |  | 0
LININGS/SHEATHING/DRY PARTITIONING
Plasterboard dry lining/Partitions/Ceilings
C | Partitions, ''Gyproc'' or aproved equal 12mm thick Plasterboard partition 3.0m high double on each side fixed on 75mm thick studs, tracks and join and skim edges with skimming and jointing Compounds including pvc skirting. | 16 | m |  | 0
SURFACE FINISHES
Approved Polished Porcelain tiles 600 x 600 x 10mm bedded and jointed in cement and sand (1:3) screeded bed and neatly pointed with approved sealant (measured seperately)
D | Floors, level or to falls only not exceeding 15° from the horizontal (Provisional). | 3 | m² |  | 0
Painting/ Clear Finishings
Prepare; prime with ''Coral wall preparing primer'', apply two (2) coats of ''Coral'' emulsion paint with matt finish or approved equal
E | Rendered walls with girth exceeding 300mm | 245 | m² |  | 0
F | Plasterboard walls with girth exceeding 300mm | 94 | m² |  | 0
CIVIL WORKS
| Carried to Collection |  |  |  | 0
FURNITURE/EQUIPMENT
General fixtures/Furnishings/Equipments
Kitchen cabinet
A | Fabricate, supply and install the following units, as per drawings with all fixing accessories, drawers, shelves, hardware, and ironmongery and made of:18mm or 30mm thick laminated hardwood timber board for wall hung and lower cabinets, laminated hardwood timber board shelves. Kitchen lower cabinets including granite absolute counter top. (Overall size 4.6m x 2.4m) | 1 | Nr |  | 0
Shelves
B | Fabricate, supply and install the following units, as per onsite measurements with all fixing accessories, shelves, hardware, and ironmongery and made of:18mm thick laminated hardwood timber board for wall hung, 18mm thick laminated panel for shelves. (Overall size 10m x 2.4m) | 1 | Nr |  | 0
CIVIL WORKS
| Carried to Collection |  |  |  | 0
Collection
| Page 2 |  |  |  | 0
| Page 3 |  |  |  | 0
CIVIL WORKS
| Carrried to Summary |  |  |  | 0
ELECTRICAL INSTALLATION
| Power Instln |  |  | 0 | 0
final circuits
Wire the following points in conduit / trunking as directed by engineer using PVC insulated Copper Conduit Cable (Nexans Cable Metal or approved equal)
A | 2.5mm2 PVC insulated copper cable (Red) |  | Coils |  | 0
B | 2.5mm2 PVC insulated copper cable (Black) |  | Coils |  | 0
C | 2.5mm2 PVC insulated copper cable (Yellow/Green) |  | Coils |  | 0
D | 150mm x 75mm steel conduit boxes |  | No. |  | 0
Accessories
E | Socket outlet, 13A, 3 pin shuttered flush white plastic pattern double switched; steel Knock out box; pluged & screwed to masonry |  | Nr |  | 0
F | UPS socket |  | Nr |  | 0
G | 170mm x 50mm 3 Compartment Dado Trunking |  | m |  | 0
Testing
H | Testing & commisioning the power installation as described In the specification.
ELECTRICAL WORKS
| Carried to Collection |  |  |  | 0
Lighting Installation.
Final ciruits
Wire the following points in conduit / trunking as directed by engineer using PVC insulated Copper Conduit Cable (Nexans Cable Metal or approved equal)
Light points using:
A | 1.5mm2 PVC insulated copper cable (Red) | 2 | Coils |  | 0
B | 1.5mm2 PVC insulated copper cable (Black) | 2 | Coils |  | 0
C | 1.5mm2 PVC insulated copper cable (Blue) | 2 | Coils |  | 0
D | 20mm diameter PVC conduit pipe | 6 | No. |  | 0
E | Circular boxes of various ways | 4 | No. |  | 0
Accessories
| Lighting switch, one gang one way,5A; single pole silent action; flush ivory plastic plate & steel. knock out box; pluged & screwed to masonry | 1 | Nr |  | 0
G | Ditto, Two gangs two way | 3 | Nr |  | 0
ELECTRICAL WORKS
| Carried to Collection |  |  |  | 0
Data/Telephone Network
A | Cable & conduit in final ring main circuit, concealed Installation., consisting of HDMI cable drawn into rigid 12mmØ PVC conduit, embedded in masonry & fixed with clips. | 20 | m |  | 0
B | HDMI Socket | 1 | Nr |  | 0
FIRE ALARM SYSTEM:
Supply and install complete conventional fire alarm system.
C | Optical smoke detector | 1 | Nr |  | 0
D | Fixed temperature heat detector | 1 | Nr |  | 0
ELECTRICAL WORKS
| Carried to Collection |  |  |  | 0
Collection
| Page 4 |  |  |  | 0
| Page 5 |  |  |  | 0
| Page 6 |  |  |  | 0
ELECTRICAL WORKS
| Carried to Summary |  |  |  | 0
PLUMBING & HEATING
COLD WATER SERVICE
A | Allow a provisional sum of GhS …... for cold water supply |  | Sum
COLD WATER SERVICE
| Carried to Collection |  |  |  | 0
Sanitary appliances
Sanitary appliances/fittings
B | Sink single bowl, 1000 x 510 mm inset kitchen unit specialist. pattern stainless steel with CP plug and chain waste and CP mixer tap set in base | 1 | Nr |  | 0
SANITARY APPLIANCES
| Carried to Collection |  |  |  | 0
Collection
| COLD WATER SERVICE |  |  |  | 0
| SANITARY APPLIANCES |  |  |  | 0
PLUMBING & HEATING
| Carried to Superstructure Summary |  |  |  | 0
| ELECTRICAL WORKS |  |  |  | 0
| PLUMBING & HEATING |  |  |  | 0
ELECTRICAL, PLUMBING & HEATING & VENTILATION & AIRCONDITION
| Carried to Main Building Summary |  |  |  | 0
SUMMARY
| Demolition And Alteration |  |  |  | 0
| Civil Works |  |  |  | 0
| Electrical, Plumbing & Heating & Ventilation & Aircondition |  |  |  | 0
SUMMARY
| Carried to Main Summary |  |  |  | 0

## MAIN SUMMARY
Item | Description | Qty | Unit | Rate | Amount GHS
GENERAL SUMMARY
| BILL NO.1 PRELIMINARIES |  | 5% |  | 0
| BLOCK A - GF LEFT WING |  |  |  | 0
| Sub Total 1 |  |  |  | 0
| ADD CONTINGENCY RESERVE |  | 10% |  | 0
| Sub Total 2 |  |  |  | 0
| GETFUND/NHIL/COVID LEVY |  | 6% |  | 0
| Sub Total 3 |  |  |  | 0
| VAT |  | 15% |  | 0
| TOTAL ESTIMATED COST |  |  | GHS | 0