1. **TECHNICAL SPECIFICATIONS**

**Quarter 1 of the year 2025**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **No** | **Item** | **Description**  | **Quantity**  | **UNIT PRICE** (**IQD)**  | **Total Offer** |
| **1** | **Diesel Fuel** | Diesel Fuel, density @15C(0.825-0.840). flash point C (60-75), Sulphur <1000 to be used for generators and big machines | 120,000 L |  |  |

1. **DELIVERY**
* The requested item should Be delivered to presidential Square, Jadriyah, Baghdad, Iraq.
* The item needs to be delivered within 48 hours after receiving the purchase order.
1. **REMARKS and CONDITION**
* Fuel Quantity will be based on need/demand and shall be between (and not limited to) 4,000L – 8,000L per request.
* Supplying, loading, offloading, and transportation are included.
* The bidders are required to provide test laboratory results that comply with the fuel specification required.
* The quality of the fuel should remain constant as it is checked and accepted by GIZ Focal Point.
* The supplier MUST provide evidence of having successfully completed at least three similar supplies within the city in the past five years. Acceptable evidence includes completion certificates, reference letters from clients, or contracts mentioning the amount/quantities of the fuel supplies.
* Since fuel is a variable cost item subject to price fluctuations due to market conditions and seasonal changes, the framework agreement will be structured on a quarterly basis. Accordingly, the supplier is required to submit pricing exclusively for the first quarter of 2025. Prices for subsequent quarters will be assessed and determined as the agreement progresses (based on evident information from official entities).

The supplier is expected to calculate their bid accurately and provide precise seasonal pricing to ensure compliance with this approach.