## BoQ Transformers
BoQ - Supplying of 3 Transformers in Heet City
Heet City - Anbar Governorate
| Program Name: | ARILA - Assisting Reconstruction and Improving Living Conditions in Anbar
| Project No.: | 21.1811.5-002.00
| Project Name: | Supplying of 3 electricity Transformers in Heet
| ProSoft No.: | 91186482
| Trade: | Electrical Works
| Location: | Heet
Cost Calculation
No. | Description | Qty. | Unit | Unit rate *) | Total Amount *) | portion
[---] | [---] | [---] | [---] | [IQD] | [IQD] | [%]
4.00 | Electrical Transformers with Their Accessories works
4.01 | Electrical Transformer of 400 kVA capacity Supply,delivery, test and commission new electrical transformer of 11/0.416 kV and 400 kVA capacity, Turkish , KSA origin or equivalent which should be approved by the supervisory committee before starting supplying process, compatible with the Ministry of Electricity specifications- transformer technical specification IEC-60076 (TS 267) . certificate of origin and inspection documents are required. See the Transformer specifications in MoE specifications and technical sheet | 3 | Pcs |  | 0 | #DIV/0!
4.00 | Sub total for Electrical Transformers with Their Accessories works |  |  |  | 0 | #DIV/0!
Delivery Time
(Please indicate the shortest delivery time)
A. DELIVERY
|  |  | 1 | DDP to Heet DoE
|  |  | 2 | Packing, loading, transportation and unloading is under responsibility of supplier
|  |  | 3 | Please indicate the shortest delivery time
B. REMARKS AND CONDITIONS
|  |  | 1 | All standard accessories for all offered items should be provided.
|  |  | 2 | The supplier must specify the warranty duration for all Items with1 year waranty
|  |  | 3 | Catalogues or technical data sheet are requested for all items!!!
|  |  | 4 | Comparable specifications to be highlighted in the catalogues
|  |  | 5 | The brand and the model of the offered items to be indicated.
|  |  | 6 | Reference pictures are only to recognize and understand the items, not an indication for any model or brand
PLEASE FILL IN THE HIGHLIGHTED CELLS ONLY.