## BOREHOLE - DAC
Item | Description | Qty | Unit | Amount GH¢
PRELIMINARIES AND GENERAL CONDITION
A | Mobilisation and demobilisation of contrractor's crew and equipment to and from site |  | PS
B | Geophsics investigation for ground water exploration |  | PS
C | Cleaning the working site and removing all of the unnecessary |  | item
OVING BETWEEN WORK SITES
D | Move site 0 - 10km | 5 | km
BOREHOLE DRILLING
E | Drilling through the overburden for
completion of 127mm diameter borehole
| in any type of rock (165mm min. diameter) | 35 | m | 0
F | Drilling through fresh rock for completion
of 127mm diameter borehole in any type of
| rock (165mm minimum diameter) | 60 | m | 0
G | Setting and withdrawal of temporary casing
| (200mm minimum diameter) | 5 | m | 0
BOREHOLE CONSTRUCTION
H | Supply and use of PVC protecttion casing | 1 | nr | 0
J | Supply and install 127mm PVC plain casing | 75 | m | 0
K | Supply and install 127mm PVC well screen | 20 | m | 0
L | Supply and Install centralizer on 127mm caisson and screens | 13 | nr | 0
M | Supply and place gravel as in design and specification | 40 | m | 0
N | Supply cement, mix and place grout above gravel as in a design | 5 | m | 0
P | Backfill annulus above ground seal as in design | 25 | m | 0
Q | Supply cement, mix and place grout above gravel as in a design | 4 | nr | 0
| Carried forward |  |  | 0
Item | Description | Qty | Unit | Amount GH¢
| Brought forward |  |  | 0
BOREHOLE DEVELOPMENT
A | Develop borehole by surging with compressed air and airlifting test | 3 | hrs. | 0
B | Develop borehole by horizontal jetting and air-lifting pumping | 3 | hrs. | 0
C | Chlorinate successfully developed Borehole | 1 | nr | 0
ABANDONMENT OF TEST HOLE
D | Backfill unsucceful borehole as specified | 1 | nr | 0
PUMPING TEST
E | Carry out constant discharge and recovery
| test (6 hours/borehole) | 6 | hrs. | 0
F | Supply and fix suitable cap on borehole | 1 | nr | 0
WATER QUALITY ANALYSIS
G | Take, lable and store sample of water from borehole for analysis | 1 | Samp | 0
H | Carry out chemical analyses as specified | 1 | Samp | 0
J | Carry out bacteriological analyses as specified | 1 | Samp | 0
| TOTAL CARRIED TO SUMMARY |  |  | 0

## WATERTANK AND TANK PLATFOR MDAC
|  |  |  | Rate | Amount
Item | Description | Qty | Unit | GH¢ | GH¢
WATER TANK AND TANK PLATFORM
WATER TANKS
B | Supply and install 5000litres ground-mounted polytank
| as directed by the Project Manager | 1 | nr |  | 0
PLATFORM FOR MAIN STORAGE TANK
The following in Plafform for ground-mounted Water Tank 2.4 x 2.4 x 0.9m
high from ground level
Excavation and earthworks
D | Excavate foundation trench not exceeding 1.50m deep commencing at
| formation level | 3 | m3 |  | 0
E | Backfill selected excavated material around foundations | 1 | m3 |  | 0
F | Remove surplus excavated material from site | 1 | m3 |  | 0
Approved imported laterite hardcore filling:
G | To make up levels under floors, deposited and compacted in layers
| not exceeding 225mm thick including watering between layers | 3 | m3 |  | 0
Plain in-situ concrete (1:3:6 - 20mm aggregate) to attain a
minimum crushing strength of 20N/mm2 in 28 days in:
H | Foundation | 1 | m3 |  | 0
J | Floor bed, 200mm thick | 1 | m3 |  | 0
Sawn formwork to:
K | Edge of bed;150mm wide | 10 | m |  | 0
Solid concrete blockwork bonded in cement and sand (1:4) mortar as described in:
L | 150mm Wall | 11 | m2 |  | 0
19mm Cement and sand (1:3) rendering as described to concrete or blockwork:
M | Wall | 9 | m2 |  | 0
WATER TANK AND TANK PLATFORM
| CARRIED TO SUMMARY |  |  | GH¢ | 0

## PIPES WORK DAC
|  |  |  | Rate | Amount
Item | Description | Qty | Unit | GH¢ | GH¢
PIPES WORKS
A | Provisional sum for Plumbing and Pipes Works as directed by the Project Manager |  | Item
PIPES WORKS
| CARRIED TO SUMMARY |  |  | GH¢ | 0

## DAC SUMMARY
Item | Description | GH¢
SUMMARY, DAMANGO AGRIC COLLEGE
A | BOREHOLE CONSTRUCTION | 0
B | WATER TANK AND TANK PLATFORM | 0
C | PIPES WORKS | 0
| TOTAL CARRIED TO GENERAL SUMMARY | 0

## WATER TANK AND TANK PLATFOR BAR
|  |  |  | Rate | Amount
Item | Description | Qty | Unit | GH¢ | GH¢
WATER TANK AND TANK PLATFORM
WATER TANKS
B | Supply and install 5000litres ground-mounted polytank
| as directed by the Project Manager | 1 | nr | 0 | 0
PLATFORM FOR MAIN STORAGE TANK
The following in Plafform for ground-mounted Water Tank 2.4 x 2.4 x 0.9m
high from ground level
Excavation and earthworks
D | Excavate foundation trench not exceeding 1.50m deep commencing at
| formation level | 3 | m3 | 0 | 0
E | Backfill selected excavated material around foundations | 1 | m3 | 0 | 0
F | Remove surplus excavated material from site | 1 | m3 | 0 | 0
Approved imported laterite hardcore filling:
G | To make up levels under floors, deposited and compacted in layers
| not exceeding 225mm thick including watering between layers | 3 | m3 | 0 | 0
Plain in-situ concrete (1:3:6 - 20mm aggregate) to attain a
minimum crushing strength of 20N/mm2 in 28 days in:
H | Foundation | 1 | m3 | 0 | 0
J | Floor bed, 200mm thick | 1 | m3 | 0 | 0
Sawn formwork to:
K | Edge of bed;150mm wide | 10 | m | 0 | 0
Solid concrete blockwork bonded in cement and sand (1:4) mortar as described in:
L | 150mm Wall | 11 | m2 | 0 | 0
19mm Cement and sand (1:3) rendering as described to concrete or blockwork:
M | Wall | 9 | m2 | 0 | 0
WATER TANK AND TANK PLATFORM
| CARRIED TO SUMMARY |  |  | GH¢ | 0

## PIPES WORK BARS
|  |  |  | Rate | Amount
Item | Description | Qty | Unit | GH¢ | GH¢
PIPES WORKS
A | Provisional sum for Plumbing and Pipes Works as directed by the Project Manager |  | Item |  | 0
PIPES WORKS
| CARRIED TO SUMMARY |  |  | GH¢ | 0

## BARS SUMMARY
Item | Description | GH¢
SUMMARY, BABILE AGRIC RESEARCH STATION
A | WATER TANK AND TANK PLATFORM | 0
B | PIPES WORKS | 0
| TOTAL CARRIED TO GENERAL SUMMARY | 0

## GENERAL SUMMARY
Item | Description | GH¢
GENERAL SUMMARY
A | SUMMARY, DAMANGO AGRIC COLLEGE | 0
B | SUMMARY, BABILE AGRIC RESEARCH STATION | 0
| SUB-TOTAL | 0
| ADD CONTINGENCIES PHYSICAL CONTINGENCY (5%) | 0
| TOTAL CARRIED TO FORM OF TENDER | 0