## GEN SUM
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT (Gh¢)
GENERAL SUMMARY
1 | OFFICE REMODELING (PATITIONING)
2 | WASHROOM CONSTRUCTION
(New Washroom attached to offices)
3 | WAREHOUSE/STORE RENOVATION AND SHELVES
TOTAL BUDGETED COST

## PARTITIONING
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT(Gh¢)
C: DEMOLITION/ ALTERATION/ RENOVATION
C20 Alteration - spot items
Remove the following, keep for client;
A | Remove existing plywood partition with frames and keep for client | 21 | nr
B | Site Clearance, bushes, shrubs, trees etc |  | item |  | 150
C | Hack floor finish to receive screed for tiling | 76 | m2
D | Include for various demolishing works relevant to this section |  | P. Sum |  | 1000
DEMOLITION/ ALTERATION/ RENOVATION
TOTAL CARRIED TO BILL SUMMARY
E - IN SITU CONCRETE / LARGE PRECAST/ CONCRETE
E10 In situ concrete
Reinforced In situ concrete (1:2:4-20mm aggregates) as described:
A | Reinforced insitu concrete (1:2:4-20mm aggregates) in | 2 | m3
300mm lintel belt
E20 Formwork for in situ concrete
Sawn formwork, basic finish as described:
B | Sawn formwork to side and soffit of lintel belt;
| height not exceeding 300mm | 34 | m2
E30 Reinforcement for insitu concrete
C | 12mm diameter; mild steel reinforcement; in lintel belt | 0.2 | t
D | 10mm diameter links | 0.14 | t
IN SITU CONCRETE/ LARGE PRECAST CONCRETE
TOTAL CARRIED TO SUMMARY
F - MASONRY
F10 Brick/Block walling
A | 125mm thick solid sandcrete blockwork in cement and sand mortar (1:4) in stretcher bond in partition walls | 152 | m2
MASONRY
TOTAL CARRIED TO SUMMARY
G: STRUCTURAL/ CARCASSING METAL/ TIMBER
G20 Carpentry/ Timber framing/ First fixing
Wrot hardwood/Metal/steel
Supply and install/fix as per roof design, tiimber roof structure members; rafters, purlins, wallplate, struct complete with all assessories according to manufacturer's specification as per design and approval
A | Allow for roof members addition and any other relevant |  | P. Sum |  | 2000
work for this section
Carpenter's metal work
B | 6mm diameter mild steel; door clamps; 500mm long; including boring into hardwood | 42 | nr
C | 6mm diameter mild steel; windows 300mm long; including boring into hardwood | 20 | nr
D | 6mm diameter mild steel; anchor tie; 2500mm long; tying to beam | 20 | m
STRUCTURAL/ CARCASSING METAL/TIMBER
TOTAL CARRIED TO SUMMARY
H - CLADDING/COVERING
H72 Aluminium sheet coverings/ flashings
A | Allow for roof cladding repair and all relevant work for this section |  | P. Sum |  | 1000
CLADDING/ COVERING
TOTAL CARRIED TO SUMMARY
K - LININGS/ SHEATHINGS/ DRY PARTITIONINGS
A | Install Plasterboard ceiling complete including timber network and assessories in all spaces according to manufacturer's specification and installation with approval | 81 | m2
B | Install plywood ceiling complete with cover batten including ceiling network and assessories in eaves | 26 | m2
LININGS/ SHEATHINGS/ DRY PARTITIONINGS
TOTAL CARRIED TO SUMMARY
L: WINDOWS/ DOORS/ STAIRS
L20 Timber doors/ shutters/ hatches
A | Construct and Install: 12 blades 3bay Louvered window complete with timber frame, carrier, blades, burglar, netting, welded mesh and cover battern including all relevant assessories to function (2250mm x 1800mm) | 2 | m
B | Construct and Install : 12 blades 3bay Louvered window complete with timber frame, carrier, blades, burglar, netting welded mesh and cover battern including all relevant assessories to function (1750mm x 1800mm) | 4 | m
C | Construct and Install : 4 blades 1bay High level Louvered window complete with timber frame, carrier, blades, burglar, netting, welded mesh and cover battern including all relevant assessories to function (900mm x 700mm) | 1 | nr
Doors
D | Construct and Install: Timber flush door with fixed fan light complete with frame, locks and architraves including all relevant assessories to function (900mm x 2700mm) | 5 | nr
E | Supply and install: Heavy duty emergency security door (single) as per approval by client. | 1 | nr
WINDOWS/ DOORS/ STAIRS
TOTAL CARRIED TO SUMMARY
M: SURFACE FINISHES
M10 Sand-cement/concrete/granolithic screeds/flooring
M20 Plastered/Rendered/Roughcast coatings
A | 40mm thick bed; to receive floor tiles | 76 | m2
B | 12mm thick backing to receive skirting/wall tiles | 25 | m2
M20 Plastered/ Rendered/ Roughcast coatings
A | 20mm thick cement and sand plaster (1:4) on blockwork or concrete surfaces | 298 | m2
M40 Stone/Concrete/Quarry/Ceramic tiling/ Etc
B | Floors; 600mm x 600mm x 12mm thick polish porcelain tiles; | 80 | m2
bedded and jointed in approved material in all space
C | Skirtings; 400mm x 100mm x 10mm thick semi-polish porcelain | 25 | m2
tiles; bedded and jointed in approved material.
M60 Painting/ Clear finishing
Prepare and apply one primer coats and two finishing coats CORAL emulsion paint; thinned according to specifications;
A | General surfaces - walls internally | 358 | m2
B | General surfaces - walls externally | 144 | m2
C | General surfaces: skimming walls internally | 358 | m2
D | General surfaces; internal ceiling | 106 | m2
E | General surfaces; eaves ceiling | 35 | m2
Prepare and apply two coats Azar/ Leyland quality gloss paint; thinned according to specifications;
F | General surfaces; wood; girth exceeding 300mm | 59 | m2
G | General surfaces; metal; girth not exceeding 300mm | 12 | m2
SURFACE FINISHES
TOTAL CARRIED TO SUMMARY
P: BUILDING FABRIC SUNDRIES
P20 Unframed isolated trims/ skirtings/ sundry items
A | 15mm x 45mm door stops with trimmings | 67 | m
B | 15mm x 45mm window stops with trimmings | 67 | m
P21 Ironmongery
C | 100mm pair heavy duty brass butt hinges 100mm long with long screws to match - 3nr pair door | 9 | pairs
BUILDING FABRIC SUNDRIES
TOTAL CARRIED TO SUMMARY
V - ELECTRICAL SUPPLY/POWER/ LV DISTRIBUTION
LV Switchgear and Distribution boards
A | Supply, replace and fix 8 - Way 3 phase consumer unit; | 1 | nr
100A;SPN; MCB as per WYLEX including all accessories
Conduit and cable trunking and HV/LV Cables and Wiring
B | 20mm diameter PVC conduit pipes on ceiling (prov. qty) | 120 | nr
C | Connect from consumer unit to tail of building with 16mm2 insulated | 40 | m
cables (provisional quantity)
D | Wiring of lighting and ceiling fan points using1.5mm2 insulated, | 16 | nr
coloured,copper cables
E | Wiring of 13amp socket points using 2.5mm2 insulated,copper cables | 18 | nr
in radial circuit with a maximum of 4 points
F | 20mm diameter 1.5m long earth rod with clamps driven into ground, | 2 | nr
FURSE or equal quality
G | 2m long air terminal, 3 x 25mm copper tape,clips and clamps and | 1 | nr
20mm diameter earth rod complete
H | Supply and fix 1200mm sweep ceiling fan complete with regulator; | 6 | nr
ref. (Crompton/Orient )
I | Supply and fix Energy Saving lamps fitting complete with all | 16 | nr
accessories; reference British Standard internally
J | Supply and fix Energy Saving lamps fitting complete with all | 4 | nr
accessories; reference British Standard - externally prov. qty
K | 13Amp flush mounting socket 50Hz; 240V rectangular hole | 7 | nr
L | Ditto; twin | 11 | nr
M | One gang, two way Tenby switches | 2 | nr
N | One gang, one way Tenby switches | 8 | nr
O | Plastic circular boxes with cover complete (prov quantity) | 60 | nr
P | 75mm x 75mm metal conduit boxes (provisional) | 17 | nr
Q | Ditto 75mm x 150mm | 11 | nr
R | Allow for testing all wiring and fittings to ensure complete |  | item |  | 500
functionality
S | Allow provisional sum for installing Air conditioners as per | 5 | nr
consultants approval and specifications (prov. Qty)
ACs UNIT WITH ALL ASSESSORIES TO BE SUPPLIED BY CLIENT
ELECTRICAL SUPPLY/POWER/LV DISTRIBUTION
TOTAL CARRIED TO SUMMARY
SUMMARY
C | DEMOLITION/ ALTERATION/ RENOVATION
E | INSITU CONCRETE/ LARGE PRECAST CONC.
F | MASONRY
G | STRUCTURAL/CARCASSING METAL/TIMBER
H | CLADDING/COVERING
K | LININGS/SHEATHINGS/DRY PARTITIONINGS
L | WINDOWS/DOORS/STAIRS
M | SURFACE FINISHES
P | BUILDING FABRIC SUNDRIES
V | ELECTRICAL SUPPLY/POWER/LV DISTRIBUTION
| MEASURED WORK |  |  | GHS

## WASHROOM to office
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT (Gh¢)
C: DEMOLITION/ ALTERATION/ RENOVATION
C20 Alteration - spot items
Demolish:
A | Cut to create door opening in masonry wall and remove debris off site | 2.5 | m2
B | Include for various demolishing works relevant to this section |  | P. Sum |  | 250
DEMOLITION/ ALTERATION/ RENOVATION
TOTAL CARRIED TO BILL SUMMARY
D: GROUNDWORK
D20 Excavation and filling
Excavating
A | Excavate trenches, width exceeding 0.30m,
| maximum depth not exceeding 0.60m. | 4 | m3
B | Ditto; apron/steps min depth 0.45m | 2.5 | m3
C | Extra-over excavation in rock/fused laterite | 1 | m3
Disposal
D | Excavated material, off site wheeled to a distance not exceeding 100m where directed | 5 | m3
Filling
E | Back Filing to excavations, materials arising from
| excavations | 2.5 | m3
F | Hardcore filling to make up levels, with selected
laterite gravel obtained off site and compacted in
layers not exceeding 225mm thick, average thick-
| ness exceeding 0.25m in main building | 5 | m3
G | Ditto in apron | 2 | m3
H | Filling to make up levels, around building with
selected laterite gravel obtained off site and
| compacted, average thickness 150mm | 2 | m3
GROUNDWORK
TOTAL CARRIED TO SUMMARY
E - IN SITU CONCRETE/ LARGE PRECAST/ CONCRETE
E10 In situ concrete
In situ concrete (1:3:6-20mm aggregates) as described:
A | Plain in situ concrete (1:3:6-20mm aggregates) in
| foundation trenches; 225mm thick | 2 | m3
B | Ditto; (1:3:6-20mm aggregates) in 150mm apron/steps foundation | 1 | m3
C | Ditto; (1:3:6-20mm aggregates) in 150mm floor bed apron | 1 | m3
Reinforced In situ concrete (1:2:4-20mm aggregates) as described:
D | Reinforced insitu concrete (1:2:4-20mm aggregates) in | 1.5 | m3
150mm floor bed
E | Ditto; (1:2:4-20mm aggregates)
| in columns | 1 | m3
F | Ditto; (1:2:4-20mm aggregates)
| in lintel belt | 1 | m3
E20 Formwork for in situ concrete
Sawn formwork, basic finish as described:
G | Sawn formwork to edges of beds; plain; vertical,
| height not exceeding 150mm | 9 | m
H | Edges of steps/apron; plain; vertical; height < 150mm | 11 | m
I | Ditto; to sides of columns | 9 | m2
E30 Reinforcement for insitu concrete
J | 12mm diameter; mild steel reinforcement; in lintel belt | 0.08 | t
K | 12mm diameter; ditto; in all column | 0.05 | t
L | 10mm diameter links | 0.12 | t
M | Approved DPM to receive floor slab concrete | 9 | m2
IN SITU CONCRETE/ LARGE PRECAST CONCRETE
TOTAL CARRIED TO SUMMARY
F - MASONRY
F10 Brick/Block walling
A | 150mm thick solid sandcrete blockwork in cement and sand mortar (1:4) in stretcher bond in substructure walls | 11 | m2
B | 125mm thick solid sandcrete blockwork in cement and sand mortar (1:4) in stretcher bond in superstructure walls | 37 | m2
MASONRY
TOTAL CARRIED TO SUMMARY
G: STRUCTURAL/ CARCASSING METAL/ TIMBER
G20 Carpentry/ Timber framing/ First fixing
Wrot hardwood/Metal/steel
Supply and install/fix as per roof design, tiimber roof structure members; rafters, purlins, wallplate, struct complete with all assessories according to manufacturer's specification as per design and approval
A | 50mm x 75mm wall plate | 14 | m
B | 50mm x 100mm rafter | 18 | m
C | 50mm x 75mm purlin | 24 | m
D | 50mm x 75mm strut | 5 | m
E | 25mm x 250mm fascia | 12 | m
Carpenter's metal work
F | 6mm diameter mild steel; door clamps; 500mm long; including boring into hardwood | 32 | nr
G | 6mm diameter mild steel; clips; 300mm long; including boring into hardwood | 24 | nr
H | 6mm diameter mild steel; anchor tie; 2500mm long; tying to beam | 8 | nr
STRUCTURAL/ CARCASSING METAL/TIMBER
TOTAL CARRIED TO SUMMARY
H - CLADDING/COVERING
H72 Aluminium sheet coverings/ flashings
A | 0.4mm Gauge Corrugated plain alu-zinc roofing sheets; short span with two corrugations side laps; including approved drive screw nails, felt as per manufacturer's specification | 12 | m2
CLADDING/ COVERING
TOTAL CARRIED TO SUMMARY
K - LININGS/ SHEATHINGS/ DRY PARTITIONINGS
A | Install Plasterboard ceiling complete including timber network and assessories in all spaces according to manufacturer's specification and installation with approval | 9 | m2
B | Install plywood ceiling complete with cover batten including ceiling network and assessories in eaves | 6 | m2
LININGS/ SHEATHINGS/ DRY PARTITIONINGS
TOTAL CARRIED TO SUMMARY
L: WINDOWS/ DOORS/ STAIRS
L20 Timber doors/ shutters/ hatches
A | Construct and Install : 4 blades 1bay High level Louvered window complete with timber frame, carrier, blades, burglar, netting, welded mesh and cover battern including all relevant assessories to function (900mm x 700mm) | 4 | nr
Doors
B | Construct and Install: Timber flush door complete with frame, locks and architraves including all relevant assessories to function (700mm x 2100mm) | 3 | m
WINDOWS/ DOORS/ STAIRS
TOTAL CARRIED TO SUMMARY
M: SURFACE FINISHES
M10 Sand-cement/concrete/granolithic screeds/flooring
M20 Plastered/Rendered/Roughcast coatings
A | 40mm thick bed; to receive floor tiles | 8 | m2
B | 25mm thick screeded; floated smooth; on apron | 7 | m2
M20 Plastered/ Rendered/ Roughcast coatings
A | 20mm thick cement and sand plaster (1:4) on blockwork or concrete surfaces | 74 | m2
M40 Stone/Concrete/Quarry/Ceramic tiling/ Etc
B | Walls; 250mm x 400mm x 6mm thick glazed ceramic tiles; bedded | 41 | m2
and jointed in approved material in washrooms and kitchen
C | Floor; 300mm x 300mm x 6mm thick floor tiles; bedded and jointed | 8 | m2
in approved material in washrooms
M60 Painting/ Clear finishing
Prepare and apply one primer coat and two finishing coats CORAL emulsion paint; thinned according to specifications;
A | General surfaces - walls | 764 | m2
B | General surfaces; eaves ceiling | 6 | m2
Prepare and apply two coats Azar/ Leyland quality gloss paint; thinned according to specifications;
C | General surfaces; wood; girth exceeding 300mm | 12 | m2
D | General surfaces; metal; girth not exceeding 300mm | 4 | m2
SURFACE FINISHES
TOTAL CARRIED TO SUMMARY
N- SANITARY / EQUIPMENT
N13 Sanitary appliances/fittings
A | Supply and fix , low level, white glazed, ceramic water closet | 2 | nr
complete with 9 litre cistern, flexible hose, overflow
connection and fixing accessories as per TWYFORD
B | Supply and fix wash hand basin complete with all accessories; | 3 | nr
550mm long x 400mm wide x 200mm deep as per TWYFORD
C | Supply and fix plastic toilet brush and holder | 2 | nr
D | Ditto; chromium toilet roll holder;fixed through vulnerable material | 2 | nr
E | Ditto; Towel hook | 3 | nr
F | Ditto; Mirror | 3 | nr
G | Ditto; PVC floor waste union | 2 | nr
H | Urinal pot/bowl | 1 | nr
I | Soap dispenser | 3 | nr
SANITARY APPLIANCE
TOTAL CARRIED TO SUMMARY
P: BUILDING FABRIC SUNDRIES
P20 Unframed isolated trims/ skirtings/ sundry items
A | 15mm x 45mm door stops with trimmings | 14 | m
B | 15mm x 45mm window stops with trimmings | 8 | m
P21 Ironmongery
C | 100mm pair Heavy duty brass butt hinges 100mm long with long screws to match - 3nr pair door | 5 | pairs
BUILDING FABRIC SUNDRIES
TOTAL CARRIED TO SUMMARY
R- DISPOSAL SYSTEMS
A | Construction complete; new inspection chamber per typical | 1 | nr
detailed from drawings (provisional quantity)
B | Construction complete; valve chamber as per typical detailed from | 1 | nr
drawing (provisional quantity)
C | Install clean-out sytems as described (100mm and 50mm) | 4 | nr
(provisional quantity)
D | Allow for repair of all damages to existing plumbing
| systems / layout |  | P. Sum |  | 500
DISPOSAL SYSTEMS
TOTAL CARRIED TO SUMMARY
S - PIPED SUPPLY SYSTEMS
PVC pipes including bends joints etc and all fittings
(provisional quantities)
A | 13mm diameter pipes, straight | 15 | m
B | 25mm diameter pipes, straight | 15 | m
C | 38mm diameter pipes, straight | 15 | m
D | 50mm diameter pipes, straight | 10 | m
E | 75mm diameter pipes, straight | 10 | m
F | 100mm diameter pipes, straight | 10 | m
G | Allow for all PVC work connectors - bends, tees and others |  | item |  | 500
(Provisional sum)
PIPED SUPPLY SYSTEMS
TOTAL CARRIED TO SUMMARY
V - ELECTRICAL SUPPLY/POWER/ LV DISTRIBUTION
LV Switchgear and Distribution boards
A | Allow for all electrical works (conduit, wiring and fittings) |  | P. Sum |  | 4500
complete.
ELECTRICAL SUPPLY/POWER/LV DISTRIBUTION
TOTAL CARRIED TO SUMMARY
SUMMARY
C | DEMOLITION/ ALTERATION/ RENOVATION
D | GROUNDWORK
E | INSITU CONCRETE/ LARGE PRECAST CONC.
F | MASONRY
G | STRUCTURAL/CARCASSING METAL/TIMBER
H | CLADDING/COVERING
K | LININGS/SHEATHINGS/DRY PARTITIONINGS
L | WINDOWS/DOORS/STAIRS
M | SURFACE FINISHES
N | SANITARY APLLIANCES
P | BUILDING FABRIC SUNDRIES
R | DISPOSAL SYSTEMS
S | PIPED SUPPLY SYSTEMS
V | ELECTRICAL SUPPLY/POWER/LV DISTRIBUTION
| MEASURED WORK |  |  | GHS

## SHELVES
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT(Gh¢)
C: DEMOLITION/ ALTERATION/ RENOVATION
C20 Alteration - spot items
Remove the following, keep for client;
A | Site Clearance, bushes, shrubs, trees etc | 25 | m2
B | Hack floor finish to receive new floor concrete | 107 | m2
C | Allow for various demolishing/removal works relevant to this section |  | item |  | 500
DEMOLITION/ ALTERATION/ RENOVATION
TOTAL CARRIED TO BILL SUMMARY
E - IN SITU CONCRETE/ LARGE PRECAST/ CONCRETE
E10 In situ concrete
In situ concrete (1:3:6-20mm aggregates) as described:
Reinforced In situ concrete (1:2:4-20mm aggregates) as described:
A | Reinforced insitu concrete (1:2:4-20mm aggregates) in | 14 | m3
125mm floor bed - smooth finish in bays as approved
E20 Formwork for in situ concrete
Sawn formwork, basic finish as described:
B | Sawn formwork to edges of beds; plain; vertical,
| height not exceeding 125mm | 120 | m
E30 Reinforcement for insitu concrete
C | 10mm diameter; mild steel reinforcement; in bed | 1.9 | t
IN SITU CONCRETE/ LARGE PRECAST CONCRETE
TOTAL CARRIED TO SUMMARY
H - CLADDING/COVERING
H72 Aluminium sheet coverings/ flashings
A | Allow for roof cladding repair and all relevant work for this section |  | P. Sum |  | 1000
CLADDING/ COVERING
TOTAL CARRIED TO SUMMARY
K - LININGS/ SHEATHINGS/ DRY PARTITIONINGS
A | Install plywood ceiling complete with cover batten including ceiling network and assessories internal. | 107 | m2
LININGS/ SHEATHINGS/ DRY PARTITIONINGS
TOTAL CARRIED TO SUMMARY
M: SURFACE FINISHES
M10 Sand-cement/concrete/granolithic screeds/flooring
M20 Plastered/Rendered/Roughcast coatings
A | 40mm thick bed; screed smooth finish | 107 | m2
M20 Plastered/ Rendered/ Roughcast coatings
A | Allow for repair with 20mm thick cement and sand plaster (1:4) on blockwork or concrete surfaces |  | P Sum |  | 1000
M60 Painting/ Clear finishing
Prepare and apply two finishing coats CORAL emulsion paint; thinned according to specifications;
A | General surfaces - walls internal and external | 297 | m2
B | General surfaces; internal ceiling | 107 | m2
Prepare and apply one coats Azar/ Leyland quality gloss paint; thinned according to specifications;
E | General surfaces; wood; girth exceeding 300mm | 170 | m2
shelves
G | General surfaces; metal; girth not exceeding 300mm | 65 | m2
shelves and gate
SURFACE FINISHES
TOTAL CARRIED TO SUMMARY
P: BUILDING FABRIC SUNDRIES
P20 Unframed isolated trims/ skirtings/ sundry items
A | Fabricate and Supply to site, storage shelves as per typical
detailed design in drawing using4mm thick 50mm angle
| iron as frames vertical and horizontal and 4mm thick | 12 | nr
38mm angle iron as middle,side and diagonal braces
with 3/4" plywood all primed with with Red - oxide
and primer undercoat as specified
BUILDING FABRIC SUNDRIES
TOTAL CARRIED TO SUMMARY
V - ELECTRICAL SUPPLY/POWER/ LV DISTRIBUTION
LV Switchgear and Distribution boards
A | Allow for all electrical works repair (conduit, wiring and fittings) |  | P. Sum |  | 2500
complete .
ELECTRICAL SUPPLY/POWER/LV DISTRIBUTION
TOTAL CARRIED TO SUMMARY
SUMMARY
C | DEMOLITION/ ALTERATION/ RENOVATION
E | INSITU CONCRETE/ LARGE PRECAST CONC.
H | CLADDING/COVERING
K | LININGS/SHEATHINGS/DRY PARTITIONINGS
M | SURFACE FINISHES
P | BUILDING FABRIC SUNDRIES
V | ELECTRICAL SUPPLY/POWER/LV DISTRIBUTION
| MEASURED WORK |  |  | GHS