## Cost
Pilot Project for 3 sites | Dr Beyers Naude Municipality, Ekurhuleni Metropolitan Municipality and Ilembe District Municipality
Contract: | The installation of energy efficient LED luminaires and accessories to replace existing HID luminaires and the capacity building on the installation of energy efficient equipment for skilled and unskilled locals
Pricing Schedule | Estimate
Notes: | The local municipality shall be responsible for the state and operation of the masts, such that contractor need only correspond and notify
municipality of masts / street light poles that need access, repair, power supply and site rehabilitation, etc.
This pricing schedule focuses solely on luminaire replacement, capacity building and safety.
ITEM | DOCUMENT REFERENCE | DESCRIPTION | UNIT | QUANTITY | CURRENT RATE | AMOUNT
A | 11.1.1 | Preliminary and General
A.1 | (a) | Site Establishment and Management
A.1.1 | I | Site Management & Supervision | Weeks | 6 |  | 0
A.1.2 | II | Provision of Equipment | Sum | 1 |  | 0
A.1.3 | III | Provision of Plant | Sum | 1 |  | 0
A.1.4 | IV | Temporary site facilities | Weeks | 6 |  | 0
A.1.5 | V | Construction Sign Board | No | 1 |  | 0
A.1.6 | VI | Site Rehabilitation | No | 436 |  | 0
A.2 | (b) | Construction and Occupational Health and Safety management
A.2.1 | I | Site Occupational Health & Safety | Sum | 1 |  | 0
A.2.2 | II | Safety File | Sum | 1 |  | 0
A.2.3 | III | Site Safety | Sum | 1 |  | 0
A.3 | (c) | General
A.3.1 | I | Operation and Maintenance Manual | Sum | 1 |  | 0
A.3.2 | II | Capacity Building | Sum | 1 |  | 0
A.3.3 | III | Community Liaison Officer | Sum | 1 |  | 0
SECTION A SUB-TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | 0
ITEM | DOCUMENT REFERENCE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
B | 11.1.3 | Installation of Luminaires
B.1 | (b) | Decommission existing street light HID Luminaires & Lamps | No | 480 |  | 0
B.2 | (e) | 125W HID replacement LED street light luminaires | No | 480 |  | 0
B.3 | (f) | Test and issue certificate of compliance | No | 480 |  | 0
SECTION B SUB-TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | 0
SUMMARY OF PRICES
S.1 |  | TOTAL BROUGHT FORWARD FROM SECTION A PRICING | Sum | 1 |  | 0
S.3 |  | TOTAL BROUGHT FORWARD FROM SECTION B PRICING | Sum | 1 |  | 0
S.4 |  | Sub-Total |  |  |  | 0
S.5 |  | Contingency (10% provision, based on pricing sub-total above) | Sum | 1 |  | 0
S.6 |  | Total |  |  |  | 0
S.7 |  | VAT @15% |  |  |  | 0
S.8 |  | Total Inclusive of VAT |  |  |  | 0
ITEM | DOCUMENT REFERENCE | DESCRIPTION | UNIT | QUANTITY | RATE | AMOUNT
C | 11.1.2 | Lighting Infrastructure Repairs
Note: Rates provided shall include provision of all associated material and labour and works shall only be implemented on an "As and When" basis. The contingency budget shall be used to cover the associated costs.
C.1 | (a) | Masts
C.1.1 | I | Inspection of Mast | No | 1 |  | Rate Only
C.1.2 | II | Distribution Board replacement: | No | 1 |  | Rate Only
C.1.3 | III | Replace Photocell | No | 1 |  | Rate Only
C.1.4 | IV | Replace 3P 30A Contactor | No | 1 |  | Rate Only
C.1.5 | V | Replace Circuit Breaker | No | 1 |  | Rate Only
C.1.6 | VI | Replace 5-PIN CEE Male & Female Adapter | No | 1 |  | Rate Only
C.1.7 | VII | 3 phase heavy-duty 5-core trailing cable for 40m Mast | No | 1 |  | Rate Only
C.1.8 | VIII | 3 phase heavy-duty 5-core trailing cable for 30m Mast | No | 1 |  | Rate Only
C.1.9 | IX | 3 phase heavy-duty 5-core trailing cable for 25m Mast | No | 1 |  | Rate Only
C.1.10 | X | Replace IP65 splitter box on mast ring | No | 1 |  | Rate Only
C.1.11 | XI | Repair Hoist System | No | 1 |  | Rate Only
C.1.12 | XII | Replace hoist cable safety clips | No | 1 |  | Rate Only
C.1.13 | XIII | Replace mast Ring | No | 1 |  | Rate Only
C.1.14 | XIV | Repair Access Door | No | 1 |  | Rate Only
C.1.15 | XV | Grouting | No | 1 |  | Rate Only
C.1.16 | XVI | Test and repair minor faults on Mast | No | 1 |  | Rate Only
C.1.17 | XVII | Mast integrity test | No | 1 |  | Rate Only
C.1.18 | XVIII | Repair of badly rusted/damaged mast | No | 1 |  | Rate Only
C.1.19 | XIX | Replacement of badly rusted/damaged mast | No | 1 |  | Rate Only
C.1.20 | XX | Mast earthing | No | 1 |  | Rate Only
C.2 | (b) | Street Light Poles
C.2.1 | I | Inspection of street light pole | No | 1 |  | Rate Only
C.2.2 | II | Replace Circuit Breaker | No | 1 |  | Rate Only
C.2.3 | III | Replace pole wiring | No | 1 |  | Rate Only
C.2.4 | IV | Replace pole access cover | No | 1 |  | Rate Only
C.2.5 | V | Test and repair minor faults on street light pole | No | 1 |  | Rate Only
C.2.6 | VI | Pole integrity test | No | 1 |  | Rate Only
C.2.7 | VII | Repair of badly rusted/damaged street light pole | No | 1 |  | Rate Only
C.2.8 | VIII | Replacement of badly rusted/damaged street light pole | No | 1 |  | Rate Only
C.2.9 | IX | Repair of badly rusted/damaged outreach arm | No | 1 |  | Rate Only
C.2.10 | X | Replacement of badly rusted/damaged outreach arm | No | 1 |  | Rate Only
C.3 | (C) | General
C.3.1 | I | 25mm² Copper 4-core PVC SWA-ECC PVC FR LV Cable | m | 1 |  | Rate Only
C.3.2 | II | 25mm² Copper 4-core PVC SWA-ECC PVC FR LV Cable Termination | No | 1 |  | Rate Only
C.3.3 | III | 25mm² Copper 4-core PVC SWA-ECC PVC FR LV Cable Joint | No | 1 |  | Rate Only
C.3.4 | IV | Cable Warning Tape | m | 1 |  | Rate Only
C.3.5 | V | Hand pickable soil trenching | m3 | 1 |  | Rate Only
C.3.6 | VI | Machine excavation trenching | m3 | 1 |  | Rate Only
C.3.7 | VII | Hard rock pneumatic plant trenching | m3 | 1 |  | Rate Only
C.3.8 | VIII | Sifting of local soil for bedding | m3 | 1 |  | Rate Only
C.3.9 | IX | Back filling and compacting | m3 | 1 |  | Rate Only
SECTION C SUC-TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | 0